## Read me First
Raw Data from various sources cited in the main
Sensible calculations and estimation

## Gibraltar
http://www.positechenergy.com/ |  |  | Company
https://www.positech.co.uk/cliffsblog/2022/04/30/solar-farm-development-costs-so-far/ | [6 empty] | Blog
Gibraltar
PV Modules |  |  |  | Estimated PV Modules Cost |  |  |  | Required with discount
Quantity | Rated Power Wp | Price (£) | Per unit (£) | Quantity | Rated Power Wp | Price (£) | Per unit (£) | Quantity | Rated Power Wp | Price (£) | Per unit (£)
3024 | 410 | 444524.8 | 146.9989 | 3024 | 550 | 577882.24 | 191.0986 | 25852 | 580 | 4446253.4728 | 171.9888
Rough estimated Inverter cost
Quantity | Rated Power kW | Price (£)
1 | 3125 | 20000
4 | 3125 | 80000
Based on the cited source in the main
Installation Cost
| Cost in USD per MW | Scaled up to 15MW
wiring | 80000 | 1200000
monitoring | 10000 | 150000
measurements | 15000 | 225000
settings | 950000 | 14250000
grid connecion | 75000 | 1125000
land prep | 80000 | 1200000
OPEX (Operational cost)
| Cost In USD per MW | Scaled up to 15MW
Salaries | 6700 | 100500
Repairs | 1400 | 21000
Land Rent | 3000 | 45000
Insurance | 2000 | 30000
Administration.. | 4000 | 60000

## Madrid
Required PV Modules with estimated discount
Quantity | Rated Power Wp | Price (£) | Per unit (£)
228781 | 580 | 39347760.9373 | 171.9888
Required inverters with estimated discount
Quantity | Rated Power kW | Price (£)
1 | 6874 | 50000
17 | 6874 | 850000
Estimated Survey Study in GBP | Land Cost per m^2
38456.5 | 154.5
Based on the cited source in the main
Installation Cost
| Cost in USD per MW | Scaled to 150MW
wiring | 80000 | 12000000
monitoring | 10000 | 1500000
measurements | 15000 | 2250000
settings | 950000 | 142500000
grid connecion | 75000 | 11250000
land prep | 80000 | 12000000
OPEX (Operational cost)
| Cost In USD per MW | Scaled to 150MW
Salaries | 6700 | 1005000
Repairs | 1400 | 210000
Insurance | 2000 | 300000
Administration.. | 4000 | 600000